## README
ESRA Data Platform
Metadata dictionary: the fields recorded for every experiment type, with units, requirements, values and ontology IRIs
| Electrochemistry | Imaging | Spectroscopy & scattering | Chemical analysis | Computation
| 23 | 263 | 102 | 211 | 72
| experiment types | field entries | required | with an ontology IRI | with a value list
1 | What it is | The metadata the ESRA Data Platform records for each experiment type. For every field: its key, label, description, data type, unit, whether an upload must give it, the values it accepts or that we recommend, and the ontology term and IRI the platform publishes for it in each record's JSON-LD (BattINFO and EMMO first, then QUDT or schema.org).
2 | Adopting it | Use one technique sheet as the template for your own records: record the core identifiers once, every required field (shaded), and the optional fields you have. Keep the units as listed, use a listed value where a field has one, and label each value with the IRI in its row so your records and ours mean the same quantity.
3 | Reading a sheet | Fields are grouped into modules: Core identifiers, Instrument, Parameters, Analysed data and Notes. Required means a complete upload must give the field; conditional means it is required only for some cell types; optional fields may be left blank.
4 | Values | 'Allowed values' are lists the upload form enforces. 'Recommended values' are names we recommend so that records from different groups match; they are not enforced, and other values are accepted. All lists are also on 'Value lists'.
5 | Ontology terms | 'Term status' says whether the term is a BattINFO or EMMO term, a general EMMO quantity where no battery-specific term exists, a QUDT or schema.org term, an ESRA term pending a published one, or none yet. 'Confidence' is the mapping's own rating. Each IRI opens the term's definition.
6 | Related schemes | The row layout follows REMBI (Sarkans et al., Nature Methods 18, 1418, 2021). 'RDE crosswalk' maps the core identifiers and the properties of each field to NIMS Research Data Express (RDEToolKit).
7 | Source and version | Generated from the platform's upload schema at commit 2122acfc on 2026-10-28; the same file is kept in github.com/MusannaGalib/esra-platform, where `make metadata-dictionary` rebuilds it from the code.
8 | Contact | Musanna Galib, Argonne National Laboratory, mgalib@anl.gov. Help: data.energystoragera.org/help
Sheets: Summary · Core identifiers · one sheet per experiment type · Value lists · RDE crosswalk

## Summary
Summary by experiment type
Field entries per type; the sample ID and notes are counted in each type that declares them.
Type | Full name | Fields | Required | With ontology IRI | BattINFO / EMMO term | With a value list
ELECTROCHEMISTRY
EIS | Electrochemical Impedance Spectroscopy | 10 | 5 | 10 | 10 | 1
LSV | Linear Sweep Voltammetry | 6 | 2 | 5 | 5 | 1
Cycling | Galvanostatic Cycling (charge–discharge) | 19 | 5 | 17 | 17 | 2
RFB | Redox Flow Battery | 9 | 5 | 9 | 8 | 1
MICROSCOPY
TEM | Transmission Electron Microscopy | 19 | 4 | 19 | 10 | 4
SEM | Scanning Electron Microscopy | 7 | 4 | 7 | 6 | 3
EBSD | Electron Backscatter Diffraction | 8 | 5 | 8 | 6 | 1
SCATTERING, DIFFRACTION AND TOMOGRAPHY
XRD | X-ray Diffraction | 14 | 5 | 11 | 7 | 7
XCT | X-ray Computed Tomography | 9 | 4 | 9 | 5 | 3
PDF | Pair Distribution Function / Total Scattering | 8 | 5 | 8 | 6 | 3
XPCS | X-ray Photon Correlation Spectroscopy | 21 | 7 | 12 | 7 | 6
SPECTROSCOPY
XPS | X-ray Photoelectron Spectroscopy | 8 | 5 | 7 | 7 | 4
XAS | X-ray Absorption Spectroscopy | 16 | 5 | 6 | 5 | 3
NMR | Nuclear Magnetic Resonance | 17 | 3 | 11 | 9 | 5
Raman | Raman Spectroscopy | 8 | 2 | 8 | 6 | 0
FTIR | Fourier-Transform Infrared Spectroscopy | 8 | 5 | 8 | 6 | 2
UVVis | UV–Visible Spectroscopy | 8 | 5 | 8 | 5 | 3
CHEMICAL ANALYSIS
GC | Gas Chromatography | 11 | 5 | 10 | 9 | 5
ICP | Inductively Coupled Plasma spectroscopy | 7 | 3 | 6 | 6 | 3
COMPUTATION
DFT | Density Functional Theory | 11 | 5 | 9 | 5 | 3
MLIP | Machine-Learned Interatomic Potential | 20 | 4 | 9 | 7 | 5
MD | Molecular Dynamics | 10 | 4 | 8 | 7 | 4
FEM | Finite Element Modelling | 9 | 5 | 6 | 6 | 3
All | 23 experiment types | 263 | 102 | 211 | 165 | 72

## Core identifiers
Core identifiers · given once for every upload
Asked of every upload whatever its experiment type; the sample ID ties each dataset to one physical sample across techniques.
Field key | Label | Required | Description
researcher_name | Full Name | required | Full name of the person uploading the dataset.
orcid | ORCID | required | ORCID iD of that person, e.g. 0000-0002-1234-5678.
pi_name | PI Name(s) | required | Principal investigator(s) of the work; one or more names.
project | Project | required | Project the dataset belongs to, e.g. ESRA-Cathode.
institution_code | Institution Code | optional | Prefix of the dataset ID, e.g. ESRA in ESRA-EIS-0001.
publication_doi | Publication DOI (optional) | optional | DOI of the paper the data belong to; blank if not yet published.
external_data_url | External Data URLs | optional | Links to data held elsewhere (GitHub, Zenodo, Figshare); one per line.
cell_id | Cell id | required | Sample ID: the identifier that ties this dataset to one physical sample across techniques, e.g. 509t2.
source_cell_id | Sample received from another group? — optional | optional | Sample ID used by the group that supplied the sample, when it came from another group.
source_esra_id | Source esra id | optional | Dataset ID of that group's record of the sample.
source_pi_name | Source pi name | optional | Principal investigator of the group that supplied the sample.
synthesis_sample_id | Synthesis sample (optional) | optional | The synthesis-card product this dataset measured, e.g. ESRA-SYN-0001-S05.
experiment_date | Experiment date (optional) | optional | The day the data were measured, when the files do not record it.

## EIS
EIS · Electrochemical Impedance Spectroscopy
Electrochemistry · 10 fields · 5 required · 10 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
electrode_area_cm2 | Electrode Area (cm²) | Geometric area of the electrode used for the impedance measurement. | float | cm² | required |  |  | ElectrodeGeometricSurfaceArea | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_fa7790d6_07bb_4b0f_9965_55966828f5f3
separator_thickness_um | Separator Thickness (µm) | Electrolyte / separator thickness — the ionic path length used for conductivity. | float | µm | required |  |  | SeparatorThickness | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_47288277_4aed_447e_b659_0c975d031406
freq_range_high_hz | Frequency Range — High (Hz) | Highest applied frequency in the sweep. Enter number only. | float | Hz | required |  |  | UpperFrequencyLimit | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_666f0b69_9c74_49a3_80b3_96a188332462
freq_range_low_hz | Frequency Range — Low (Hz) | Lowest applied frequency in the sweep. Enter number only. | float | Hz | required |  |  | LowerFrequencyLimit | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_b66d6553_6136_4754_902a_707e414210c2
ac_amplitude_mv | AC Amplitude (mV) | AC perturbation amplitude. Keep small enough to stay in the linear regime. | float | mV | optional |  |  | AmplitudeOfAlternatingVoltage | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_f591a444_89d6_4093_836d_7d53895edce4
temperature_c | Temperature (°C) | Measurement temperature. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
dc_bias | DC Bias / OCV | DC bias / offset voltage applied during the sweep (0 for OCV). | str |  | optional |  |  | CellVoltage | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_4ebe2ef1_eea8_4b10_822d_7a68215bd24d
cell_configuration | Cell Configuration | Cell / electrode configuration, e.g. symmetric blocking, two-electrode, three-electrode. | str |  | optional | Symmetric (Li¦electrolyte¦Li); Half Cell; Full Cell; Blocking Electrode; Two-electrode; Three-electrode |  | ElectrochemicalCell | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_6f2c88c9_5c04_4953_a298_032cc3ab9b77
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## LSV
LSV · Linear Sweep Voltammetry
Electrochemistry · 6 fields · 2 required · 5 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
electrode_area_cm2 | Electrode Area (cm²) | Geometric area of the working electrode — converts measured current to current density for the onset calculation. | float | cm² | required |  |  | ElectrodeGeometricSurfaceArea | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_fa7790d6_07bb_4b0f_9965_55966828f5f3
scan_rate_mv_s | Scan Rate (mV/s) | Voltage sweep rate. | float | mV/s | optional |  |  | PotentialScanRate | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_264f40d1_17c9_4bc7_9c47_5cfb18132278
reference_electrode | Reference Electrode | Reference electrode the sweep potential is reported against. | str |  | optional |  | Li/Li+; Ag/AgCl; Na/Na+; SCE (saturated calomel); Fc/Fc+ (ferrocene internal reference); Other |  | no term yet
temperature_c | Temperature (°C) | Measurement temperature. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## Cycling
Cycling · Galvanostatic Cycling (charge–discharge)
Electrochemistry · 19 fields · 5 required · 17 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
cell_type | Cell type | Kind of cell. Several may apply; separate them with a semicolon. | str |  | optional | full; half; symmetric; plating-stripping; three-electrode; pellet (suggestions) |  |  | no term yet
cathode_material | Positive / working electrode material | Cathode active material / composition. | str |  | required |  |  | ActiveMaterial | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_79d1b273_58cd_4be6_a250_434817f7c261
anode_material | Negative electrode material | Anode active material / composition. | str |  | required |  |  | ActiveMaterial | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_79d1b273_58cd_4be6_a250_434817f7c261
cell_geometry | Cell geometry | Cell format / geometry. | str |  | required | Coin Cell; Pouch Cell; Swagelok; Cylindrical; Custom / pellet cell; Prismatic; Other |  | FormFactor | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_1586ef26_6d30_49e3_ae32_b4c9fc181941
cell_geometry_verbatim | Cell geometry verbatim | The cell format exactly as the author wrote it, kept beside the normalised code. | str |  | optional |  |  |  | no term yet
electrode_area_cm2 | Working electrode area (cm²) | Geometric electrode (cathode) area. | float | cm² | required |  |  | ElectrodeGeometricSurfaceArea | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_fa7790d6_07bb_4b0f_9965_55966828f5f3
active_mass_cathode_mg | Active mass, capacity-limiting electrode (mg) | Active-material mass loaded in the cathode. | float | mg | optional |  |  | Mass | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_ed4af7ae_63a2_497e_bb88_2309619ea405
active_mass_anode_mg | Active mass, negative electrode (mg) | Active-material mass loaded in the anode. | float | mg | conditional |  |  | Mass | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_ed4af7ae_63a2_497e_bb88_2309619ea405
specific_capacity_mah_g | Specific capacity (mAh/g) | Capacity per gram of active material, the basis the C-rate is defined against. | float | mAh/g | optional |  |  | SpecificCapacity | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_1e3dc60d_dd6b_47d6_8161_70004fc5ee30
theoretical_capacity_mah | Cell capacity (mAh) | Cell capacity in mAh. Per-gram values belong in Specific capacity (mAh/g). | float | mAh | optional |  |  | TheoreticalCapacity | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_372c89d0_adab_4585_9662_33c912acef23
temperature_c | Temperature (°C) | Cycling temperature. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
electrolyte | Electrolyte | Electrolyte composition. | str |  | optional |  |  | Electrolyte | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_fb0d9eef_92af_4628_8814_e065ca255d59
voltage_window_lower_v | Voltage window, lower (V) | Lower cutoff the protocol sets. May be negative for a plating/stripping cell. | float | V | optional |  |  | LowerVoltageLimit | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_534dd59c_904c_45d9_8550_ae9d2eb6bbc9
voltage_window_upper_v | Voltage window, upper (V) | Upper cutoff the protocol sets. | float | V | optional |  |  | UpperVoltageLimit | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_6dcd5baf_58cd_43f5_a692_51508e036c88
stack_pressure_mpa | Stack pressure (MPa) | Applied stack pressure, for pellet and solid-state cells. | float | MPa | conditional |  |  | Pressure | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_50a44256_9dc5_434b_bad4_74a4d9a29989
protocol_summary | Current / C-rate / protocol summary | The current, C-rate or protocol in words, as stated. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9
number_of_cycles | Number of cycles | Cycles run, as stated. A number, or a short phrase if it varies. | str |  | optional |  |  | TotalNumberOfCycles | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_6d981c04_3ace_4f1b_b0f8_770776cceb6f
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## RFB
RFB · Redox Flow Battery
Electrochemistry · 9 fields · 5 required · 9 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
active_material | Active Material / Redox Couple | Active material / redox couple. | str |  | required |  |  | ActiveMaterial | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_79d1b273_58cd_4be6_a250_434817f7c261
electrolyte | Electrolyte | Supporting electrolyte composition. | str |  | required |  |  | Electrolyte | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_fb0d9eef_92af_4628_8814_e065ca255d59
potential_window | Potential Window | Potential window (lower to upper) vs the stated reference. | str |  | required |  |  | VoltageLimit | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_5ebeea80_af22_456b_9087_78c2a8465c58
measurement_technique | Measurement Technique | Technique — cyclic voltammetry, galvanostatic cycling, flow-cell polarisation. | str |  | required |  | Cyclic voltammetry; Linear sweep voltammetry; Galvanostatic cycling; Chronoamperometry; Flow-cell polarization; RDE voltammetry (Koutecký–Levich); Symmetric-cell cycling; Other | CharacterisationTechnique | general EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
concentration_mm | Concentration (mM) | Active-species concentration. Enter number only. | float | mM | optional |  |  | AmountConcentration | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_d5be1faf_0c56_4f5a_9b78_581e6dee949f
electrode_area_cm2 | Electrode Area (cm²) | Working / flow electrode area. | float | cm² | optional |  |  | ElectrodeGeometricSurfaceArea | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_fa7790d6_07bb_4b0f_9965_55966828f5f3
temperature_c | Temperature (°C) | Measurement temperature. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## TEM
TEM · Transmission Electron Microscopy
Microscopy · 19 fields · 4 required · 19 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
INSTRUMENT
instrument_model | Instrument | Microscope make and model, as the .emd header reports it. | str |  | optional |  |  | CharacterisationHardwareModel | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationHardwareModel
PARAMETERS
sample_composition | Sample Composition / Chemistry | Chemical formula or material description. Cannot be read from the .emd — the author must supply it. | str |  | required |  |  | ChemicalComposition | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_7efd64d1_05a1_49cd_a7f0_783ca050d4f3
sample_preparation | Sample Preparation | How the specimen was made (FIB lamella / crush-disperse / ultramicrotome / ion mill). | str |  | required |  | FIB lamella (lift-out); Crushed and dispersed on grid (dry); Dispersed from suspension (wet); Ultramicrotome; Ion milling; Electropolishing; Electrochemically deposited on grid; Cryo-FIB lamella; Other | SamplePreparation | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
imaging_mode | Imaging Mode | HAADF-STEM / BF-TEM / STEM-EELS / STEM-EDS / SAED / HRTEM. | str |  | required | TEM (bright field); STEM / HAADF; EELS spectrum image; EDS spectrum image; SAED diffraction; STEM + EELS; STEM + EDS |  | CharacterisationTechnique | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
voltage_kv | Accelerating Voltage (kV) | Electron-beam accelerating voltage. 80 vs 300 kV is a different experiment. | float | kV | optional |  |  | Voltage | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_17b031fb_4695_49b6_bb69_189ec63df3ee
camera_length_m | Camera Length (m) | Camera length (diffraction / STEM). Enter number only. | float | m | optional |  |  | Distance | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_6ee9304e_54b7_4594_8354_0790138dffb8
acquisition_date | Acquisition Date | Date the data were acquired, YYYY-MM-DD (not the upload date). | str |  | optional |  |  | MeasurementTime | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#MeasurementTime
defocus_nm | Defocus (nm) | Objective defocus reported by the microscope at acquisition; negative is underfocus. | float | nm | optional |  |  | Length | general EMMO term | medium | https://w3id.org/emmo#EMMO_cd2cd0de_e0cc_4ef1_b27e_2e88db027bac
convergence_angle_mrad | Convergence Semi-angle (mrad) | Probe convergence semi-angle (STEM). | float | mrad | optional |  |  | Angle | general EMMO term | high | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
eels_collection_angle_mrad | EELS Collection Semi-angle (mrad) | EELS spectrometer collection semi-angle. | float | mrad | optional |  |  | Angle | general EMMO term | high | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
beam_current_pa | Beam Current (pA) | Beam current, as measured on the screen before acquisition. | float | pA | optional |  |  | ElectricCurrent | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c995ae70_3b84_4ebb_bcfc_69e6a281bb88
spot_size | Spot Size | Spot size setting as the microscope labels it (an index, not a size in nm). | str |  | optional |  |  | QUDT DimensionlessRatio | QUDT or schema.org term | low | http://qudt.org/vocab/quantitykind/DimensionlessRatio
detectors | Detectors | Detectors that recorded data, with collection angles where known — not every detector installed. | str |  | optional |  | HAADF; BF; DF; EELS; EDS; Ceta (CMOS camera); Falcon (direct electron detector); Other | Detector | general EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Detector
eels_dispersion_ev_per_ch | EELS Dispersion (eV/channel) | EELS energy dispersion per channel. | float | eV/channel | optional |  |  | Energy | general EMMO term | low | https://w3id.org/emmo#EMMO_31ec09ba_1713_42cb_83c7_b38bf6f9ced2
eels_energy_offsets_ev | EELS Energy Offsets (eV) | Start energy of each EELS window, comma-separated, low-loss first. | str | eV | optional |  |  | Energy | general EMMO term | medium | https://w3id.org/emmo#EMMO_31ec09ba_1713_42cb_83c7_b38bf6f9ced2
stage_tilt_deg | Stage Tilt (°) | Stage alpha tilt during acquisition. | float | ° | optional |  |  | Angle | general EMMO term | high | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
holder_type | Holder | Specimen holder (single tilt / double tilt / cryo / in-situ biasing). | str |  | optional |  | Single Tilt; Double Tilt; Cryo; Heating; Biasing; Gas / environmental cell; Liquid cell; Tomography; Other | Holder | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Holder
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## SEM
SEM · Scanning Electron Microscopy
Microscopy · 7 fields · 4 required · 7 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
accelerating_voltage_kv | Accelerating Voltage (kV) | Beam accelerating voltage. | float | kV | required |  |  | Voltage | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_17b031fb_4695_49b6_bb69_189ec63df3ee
detector_mode | Detector Mode | SE / BSE / In-lens / STEM. | str |  | required |  | SE; BSE; In-lens SE; STEM; EDS (EDX); Other | Detector | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Detector
sample_preparation | Sample Preparation | How the sample was prepared for SEM. | str |  | required |  | Washed and dried electrode; Powder on carbon tape; Mechanical / ion-polished cross-section; FIB cross-section; Other | SamplePreparation | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
instrument_model | Instrument Model | SEM model. | str |  | optional |  |  | HardwareModel | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationHardwareModel
sample_transfer | Sample Transfer Environment | Transfer environment — air, cryo, Ar glovebox. | str |  | optional |  | Air-free (Ar glovebox); In-vacuo transfer; Cryo transfer; Air exposure; Other | SamplePreparation | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## EBSD
EBSD · Electron Backscatter Diffraction
Microscopy · 8 fields · 5 required · 8 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
accelerating_voltage_kv | Accelerating Voltage (kV) | Beam accelerating voltage. | float | kV | required |  |  | Voltage | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_17b031fb_4695_49b6_bb69_189ec63df3ee
step_size_um | Step Size (µm) | Map step size — sets spatial resolution. | float | µm | required |  |  | Length | general EMMO term | medium | https://w3id.org/emmo#EMMO_cd2cd0de_e0cc_4ef1_b27e_2e88db027bac
sample_preparation | Sample Preparation | Surface prep — final polish is critical for pattern quality. | str |  | required |  | Mechanical polish; Broad-ion-beam (BIB) milling; Mechanical polish + BIB final polish; Vibratory polish (colloidal silica); FIB / plasma-FIB cross-section; Other | SamplePreparation | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
phases_expected | Expected Phases | Candidate phases (name + space group) for indexing. | str |  | required |  |  | PhaseOfMatter | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_668fbd5b_6f1b_405c_9c6b_d6067bd0595a
instrument_model | Instrument / Detector | EBSD detector / SEM model. | str |  | optional |  |  | HardwareModel | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationHardwareModel
tilt_angle_deg | Tilt Angle (°) | Sample tilt (typically 70°). | float | ° | optional |  |  | Angle | general EMMO term | medium | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## XRD
XRD · X-ray Diffraction
Scattering, diffraction and tomography · 14 fields · 5 required · 11 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
radiation_source | Radiation Source | Radiation — Cu Kα, Mo Kα, synchrotron. Determines wavelength. | str |  | required |  | Cu Kα; Mo Kα; Synchrotron; Cu Kα1 (monochromatic); Co Kα; Ag Kα; Other | Probe | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Probe
two_theta_min_deg | 2θ Min (°) | Low end of the 2θ scan range. | float | ° | required |  |  | Angle | general EMMO term | medium | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
two_theta_max_deg | 2θ Max (°) | High end of the 2θ scan range. | float | ° | required |  |  | Angle | general EMMO term | medium | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
wavelength_angstrom | Wavelength (Å) | X-ray wavelength. Enter number only. | float | Å | optional |  |  | Wavelength | general EMMO term | high | https://w3id.org/emmo#EMMO_573c7572_e7c7_4909_93a4_2bfe102e389d
step_size_deg | Step Size (°) | 2θ step size. | float | ° | optional |  |  | Angle | general EMMO term | medium | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
sample_preparation | Sample Preparation | How the sample was mounted (flat plate, capillary, spun). | str |  | required |  | Packed powder (flat plate); Zero-background holder; Capillary; Sealed air-free holder; Electrode film on current collector; Other | SamplePreparation | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
sample_environment | Sample Environment | Atmosphere / environment (air, Ar, sealed capillary, in situ cell). | str |  | optional |  | Ambient air; Inert (Ar); Sealed capillary; In situ temperature (heating / cooling); Operando cell; Other | CharacterisationEnvironment | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationEnvironment
sample_form | Sample Form | Physical form of what was measured: powder, single crystal, thin film, pellet, composite electrode, cell (in situ / operando), foil or bulk solid, or other. | str |  | optional | Powder; Single crystal; Thin film; Pellet; Composite electrode; Cell (in situ / operando); Foil or bulk solid; Other |  | PreparedSample | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PreparedSample
probe | Probe | What was diffracted: lab X-ray, synchrotron X-ray or neutron. Must agree with the radiation source (Cu Kα means lab X-ray). Electron diffraction (SAED, 4D-STEM) goes on a TEM upload; for neutron time-of-flight, give the d-range in notes. | str |  | optional | Lab X-ray; Synchrotron X-ray; Neutron |  | Probe | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Probe
in_situ_mode | Ex situ / In situ / Operando | ex situ: measured after removal from its cell or environment (e.g. a harvested electrode); in situ: inside its cell or environment (heating stage, gas, a cell at rest) but not while it operates; operando: while the cell is cycling, with the electrochemistry recorded at the same time. | str |  | optional | Ex situ; In situ; Operando |  |  | no term yet
texture | Texture / Preferred Orientation | Preferred orientation: none observed, present, not checked, or not applicable (single crystal, epitaxial film). | str |  | optional | None observed; Present; Not checked; Not applicable |  |  | no term yet
texture_note | Texture Note | Which reflections show it, whether a correction was applied in refinement (March-Dollase, spherical harmonics), or where a pole figure is. | str |  | optional |  |  |  | no term yet
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## XCT
XCT · X-ray Computed Tomography
Scattering, diffraction and tomography · 9 fields · 4 required · 9 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
xray_source | X-ray Source / Beamline | Lab tube model or synchrotron beamline. | str |  | required |  | Laboratory X-ray tube (micro-CT); Laboratory X-ray tube (nano-CT); Synchrotron (name the beamline, e.g. NSLS-II 27-ID HEX); Other | Probe | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Probe
beam_energy_kev | Beam Energy (keV) | X-ray beam energy — sets phase contrast. Enter number only. | float | keV | required |  |  | Energy | general EMMO term | medium | https://w3id.org/emmo#EMMO_31ec09ba_1713_42cb_83c7_b38bf6f9ced2
sample_environment | Sample Environment | ex situ / in situ / operando + cell description. | str |  | required |  | Ex situ; In situ; Operando electrochemical cell; Other | CharacterisationEnvironment | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationEnvironment
num_projections | Number of Projections | Total projections collected. Enter number only. | int |  | optional |  |  | Count | QUDT or schema.org term | high | http://qudt.org/vocab/quantitykind/Count
rotation_range_deg | Rotation Range (°) | Total rotation range. | float | ° | optional |  |  | Angle | general EMMO term | medium | https://w3id.org/emmo#EMMO_f3dd74c0_f480_49e8_9764_33b78638c235
voxel_size_um | Voxel Size (µm) | Reconstructed voxel size. Without it, no length measurement is possible. | float | µm | optional |  |  | Length | general EMMO term | medium | https://w3id.org/emmo#EMMO_cd2cd0de_e0cc_4ef1_b27e_2e88db027bac
reconstruction_algorithm | Reconstruction Algorithm | Reconstruction method (FBP, gridrec, iterative/SIRT). | str |  | optional |  | Filtered back-projection (FBP); Gridrec; Iterative (e.g. SIRT); FDK (cone-beam filtered back-projection); Other | PostProcessingModel | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PostProcessingModel
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## PDF
PDF · Pair Distribution Function / Total Scattering
Scattering, diffraction and tomography · 8 fields · 5 required · 8 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
radiation_source | Radiation Source | Radiation — high-energy synchrotron X-ray or spallation neutron. | str |  | required |  | Synchrotron X-ray; Neutron (spallation); Neutron (reactor, constant wavelength); Laboratory X-ray (Ag / Mo Kα); Other | Probe | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Probe
facility_beamline | Facility / Beamline | Facility / beamline used. | str |  | required |  |  | Laboratory | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Laboratory
q_max_inv_angstrom | Qmax (Å⁻¹) | Maximum momentum transfer used in the Fourier transform. Enter number only. | float | Å⁻¹ | required |  |  |  | ESRA term, none published yet |  | https://esra.anl.gov/ontology/v1#PdfQMax
sample_form | Sample Form | Physical form (powder in capillary, etc.). | str |  | required |  | Powder in Kapton capillary; Packed powder; Liquid in capillary; Operando cell (e.g. AMPIX); Other | PreparedSample | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PreparedSample
wavelength_angstrom | Wavelength (Å) | Radiation wavelength. Enter number only. | float | Å | optional |  |  | Wavelength | general EMMO term | high | https://w3id.org/emmo#EMMO_573c7572_e7c7_4909_93a4_2bfe102e389d
sample_environment | Sample Environment | ex situ / in situ + conditions. | str |  | optional |  | Ex situ; In situ; Air-free; Operando; Other | CharacterisationEnvironment | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationEnvironment
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## XPCS
XPCS · X-ray Photon Correlation Spectroscopy
Scattering, diffraction and tomography · 21 fields · 7 required · 12 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
INSTRUMENT
facility_beamline | Facility / Beamline | Synchrotron facility and beamline; coherent flux and the fastest frame rate differ by beamline. | str |  | required |  | APS 8-ID-I; APS 8-ID-E; PETRA III P10; NSLS-II CHX (11-ID); ESRF ID10; Other | Laboratory | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Laboratory
correlation_software | Correlation Software | Program and version that turned the frames into the results file. | str |  | optional |  | boost_corr; Legacy 8-ID-I pipeline; Other |  | no term yet
PARAMETERS
detector | Detector | Area detector that recorded the speckle frames. | str |  | required |  | Rigaku XSPA 3M; Eiger2 X CdTe 4M; Timepix; Eiger2 500K; Lambda 750K; Other | Detector | general EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Detector
scattering_geometry | Scattering Geometry | SAXS transmission / WAXS / grazing incidence; sets which q range and which motion is seen. | str |  | required |  | SAXS transmission; WAXS; Grazing incidence; Other | CharacterisationTechnique | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
sample_form | Sample Form | Physical form in the beam. | str |  | required |  | Pressed pellet; Powder in capillary; Liquid / suspension in capillary; Thin film; Other | PreparedSample | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PreparedSample
q_min_inv_angstrom | Q min (Å⁻¹) | Smallest scattering vector of the dynamic q bins. Enter number only. | float | Å⁻¹ | required |  |  |  | no term yet
q_max_inv_angstrom | Q max (Å⁻¹) | Largest scattering vector of the dynamic q bins. Enter number only. | float | Å⁻¹ | required |  |  |  | ESRA term, none published yet |  | https://esra.anl.gov/ontology/v1#PdfQMax
temperature_c | Temperature (°C) | Sample temperature during the series; a temperature series is one dataset per temperature. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
incident_energy_kev | Incident Energy (keV) | Incident X-ray energy. | float | keV | optional |  |  | Energy | general EMMO term | medium | https://w3id.org/emmo#EMMO_31ec09ba_1713_42cb_83c7_b38bf6f9ced2
frame_time_s | Frame Time (s) | Frame period (1 / frame rate); the shortest delay in g2. | float | s | optional |  |  |  | no term yet
exposure_time_s | Exposure per Frame (s) | Count time per frame. | float | s | optional |  |  | Duration | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_0adabf6f_7404_44cb_9f65_32d83d8101a3
n_frames | Number of Frames | Number of frames in the series. | int |  | optional |  |  | Count | QUDT or schema.org term | high | http://qudt.org/vocab/quantitykind/Count
attenuator_transmission | Attenuator Transmission | Fraction of the beam let through by the attenuators (1 = none); the dose-series key. | float |  | optional |  |  |  | no term yet
incident_flux_ph_s | Incident Flux (ph/s) | Incident flux on the sample; needed for an absolute dose. | float | ph/s | optional |  |  |  | no term yet
beam_size_um | Beam Size (µm) | Beam size at the sample, horizontal x vertical. | str | µm | optional |  |  |  | no term yet
sample_thickness_mm | Sample Thickness (mm) | Sample thickness along the beam; an absolute dose needs it. | float | mm | optional |  |  | Thickness | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_43003c86_9d15_433b_9789_ee2940920656
dose_gy | Dose (Gy) | Absorbed dose, only if the beamline reports one; ESRA never computes it for you. | float | Gy | optional |  |  |  | no term yet
analysis_types | Analysis Types | Correlations in the results file: multitau, twotime, or both. | str |  | optional |  | multitau; twotime |  | no term yet
raw_data_size_gb | Raw Data Size at the Beamline (GB) | Size of the raw frames kept at the beamline (linked, not stored here). | float | GB | optional |  |  |  | no term yet
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## XPS
XPS · X-ray Photoelectron Spectroscopy
Spectroscopy · 8 fields · 5 required · 7 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
xray_source | X-ray Source | X-ray source — Al Kα (1486.6 eV), Mg Kα (1253.6 eV), or synchrotron. | str |  | required |  | Al Kα (monochromatic, 1486.6 eV); Mg Kα (1253.6 eV); Synchrotron; Ag Lα (2984 eV, HAXPES); Cr Kα (5415 eV, HAXPES); Other | Probe | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Probe
charge_correction | Charge Correction Method | Charge-reference peak + position; all binding energies are relative to this. | str |  | required |  | Adventitious C 1s at 284.8 eV; C 1s at 284.5 eV; C 1s (C–C / C–H) at 285.0 eV; Au 4f7/2 at 84.0 eV; None (charge neutraliser only); Other | CalibrationData | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CalibrationData
high_res_regions | High-Resolution Regions | Core levels measured — defines what was and was not probed. | str |  | required |  |  |  | no term yet
sample_transfer | Sample Transfer Environment | Transfer environment — in-vacuo / Ar glovebox / air. XPS probes the top 5–10 nm. | str |  | required |  | Air-free (Ar glovebox); In-vacuo transfer; Cryo transfer; Air exposure; Other | SamplePreparation | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
pass_energy_ev | Pass Energy (eV) | Analyzer pass energy — sets energy resolution. Enter number only. | float | eV | optional |  |  | KineticEnergy | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_ac540a9d_0131_43f6_a33b_17e5cfc432ed
sample_preparation | Sample Preparation | How the sample was prepared before XPS (washed, etched, as-received). | str |  | optional |  | As-received; Washed (solvent) and dried; Ar-ion etched; Ar cluster-ion (GCIB) etched; Other | SamplePreparation | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## XAS
XAS · X-ray Absorption Spectroscopy
Spectroscopy · 16 fields · 5 required · 6 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
edge | Edge / Element | Element and absorption edge, e.g. Fe K, Ni L2,3, O K. | str |  | required |  |  |  | no term yet
facility_beamline | Facility / Beamline | Synchrotron facility / beamline — flux, resolution and harmonic rejection differ by beamline. | str |  | required |  |  | Laboratory | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Laboratory
measurement_mode | Measurement Mode | transmission / fluorescence / TEY / PEY / HERFD — different probing depth and self-absorption. | str |  | required |  | Transmission; Fluorescence; TEY; PEY; HERFD; TFY; PFY; Other | CharacterisationTechnique | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
sample_form | Sample Form | pressed pellet / thin film / solution / gas. | str |  | required |  | Pressed pellet; Thin film (electrode on foil); Solution; Gas; Powder on Kapton tape; Operando cell (pouch / coin with window); Other | PreparedSample | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PreparedSample
edge_energy_ev | Edge Energy (eV) | Absorption-edge energy. Enter number only. | float | eV | optional |  |  | IonizationEnergy | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_f0b903be_d86f_4d28_9f42_b4d4753e2cf4
absorber_element | Absorber Element | The element whose edge was measured (its symbol). | str |  | optional |  |  |  | no term yet
absorber_concentration_m | Absorber Concentration (mol/L) | Absorber concentration in mol/L (for a solution). With the path length it sets the edge step, and in fluorescence how much self-absorption damps the signal. | float | mol/L | optional |  |  |  | no term yet
sample_thickness_mm | Sample Thickness (mm) | Path length through the sample (capillary inner diameter, pellet thickness). | float | mm | optional |  |  |  | no term yet
sample_formula | Sample Formula | Composition of the whole sample, as a chemical formula per formula unit; needed to estimate self-absorption in fluorescence. | str |  | optional |  |  |  | no term yet
fluorescence_detector | Fluorescence Detector | Fluorescence detector and number of elements (fluorescence mode only). | str |  | optional |  | Silicon drift detector (SDD, e.g. Vortex); Multi-element Ge detector; Lytle detector (ion chamber); PIPS (passivated implanted planar silicon); Other |  | no term yet
incidence_angle_deg | Incidence Angle (°) | Angle between the incident beam and the sample surface (fluorescence). | float | ° | optional |  |  |  | no term yet
exit_angle_deg | Exit Angle (°) | Angle between the sample surface and the detector direction (fluorescence). | float | ° | optional |  |  |  | no term yet
reference_foil | Reference Foil | Reference foil measured with the sample for energy calibration, and where. | str |  | optional |  |  |  | no term yet
num_scans | Number of Scans | Number of repeat scans of this sample in the upload. | int |  | optional |  |  |  | no term yet
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## NMR
NMR · Nuclear Magnetic Resonance
Spectroscopy · 17 fields · 3 required · 11 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
nucleus | Nucleus | Observed nucleus, e.g. 7Li, 19F, 31P, 23Na. | str |  | required |  | 1H; 6Li; 7Li; 11B; 13C; 19F; 23Na; 27Al; 31P; 17O; 29Si; Other | Nucleus | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_f835f4d4_c665_403d_ab25_dca5cc74be52
nmr_experiment | Experiment Type | Experiment type — 1D MAS, 2D EXSY, PFG diffusion, relaxometry. | str |  | required |  | 1D single-pulse (solution); 1D MAS (solid-state); MQMAS; 2D EXSY; 2D HETCOR; PFG-NMR (diffusion); Relaxometry (T1 / T2); qNMR; Operando / in situ NMR; Other | CharacterisationTechnique | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
field_strength_mhz | Field Strength (MHz) | Larmor frequency of the observed nucleus. Enter number only. | float | MHz | optional |  |  | LarmonFrequency | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_40923aa2_c600_44e4_8af8_80260ba25ab2
solvent | Solvent | Solvent / medium (or 'solid-state MAS'). | str |  | optional |  | Solid-state (MAS, no solvent); DMSO-d6; CDCl3; D2O; CD3CN; Neat liquid (no deuterated solvent; lock insert); Other | Solvent | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/chemical-substance#substance_0f2f65a7_5cc4_4c86_a4d0_676771c646f1
reference_standard | Reference Standard | Chemical-shift reference and its assigned ppm. | str |  | optional |  | TMS; CFCl3; 1 M LiCl (aq); 85% H3PO4 (31P); 1 M NaCl (aq) (23Na); BF3·OEt2 (11B); 1 M Al(NO3)3 (aq) (27Al); Other | ReferenceSample | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#ReferenceSample
temperature_c | Temperature (°C) | Sample temperature. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
num_scans | Number of Scans | Number of transients averaged. Enter number only. | int |  | optional |  |  | Count | QUDT or schema.org term | high | http://qudt.org/vocab/quantitykind/Count
quant_standard | Standard Compound | Quantitation standard: a compound of known amount measured with the sample (internal, or in a coaxial insert), so an integral becomes an amount. Not the chemical-shift reference, which only sets 0 ppm. For ¹H e.g. 1,3,5-trimethoxybenzene; for ¹⁹F e.g. α,α,α-trifluorotoluene. | str |  | optional |  |  |  | no term yet
quant_standard_type | Standard Type | Where the standard was: internal (in the sample), external (coaxial insert), external (separate tube) or electronic (ERETIC). | str |  | optional | Internal; External (coaxial insert); External (separate tube); Electronic (ERETIC) |  |  | no term yet
quant_standard_umol | Amount (µmol) | Amount of the quantitation standard in the tube. Enter number only. | float | µmol | optional |  |  | AmountOfSubstance | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_8159c26a_494b_4fa0_9959_10888f152298
quant_standard_conc_mm | or Concentration (mM) | Concentration of the quantitation standard, if given instead of an amount. Enter number only. | float | mM | optional |  |  | AmountConcentration | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_d5be1faf_0c56_4f5a_9b78_581e6dee949f
quant_standard_ppm | Its Peak (ppm) | Chemical shift of the standard's peak used for quantitation. Enter number only. | float | ppm | optional |  |  |  | no term yet
quant_standard_nuclei | Nuclei per Molecule in That Peak | Nuclei per molecule in the standard's peak used (3 for the aromatic H of 1,3,5-trimethoxybenzene, 9 for its OCH₃). Enter number only. | int |  | optional |  |  |  | no term yet
relaxation_delay_s | Relaxation Delay d1 (s) | Relaxation delay d1. An integral is quantitative only when d1 is at least 5 × T1 of the slowest nucleus. Enter number only. | float | s | optional |  |  |  | no term yet
pulse_angle_deg | Pulse Angle (°) | Excitation pulse angle (flip angle). Enter number only. | float | ° | optional |  |  |  | no term yet
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## Raman
Raman · Raman Spectroscopy
Spectroscopy · 8 fields · 2 required · 8 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
excitation_wavelength_nm | Excitation Wavelength (nm) | Laser excitation wavelength. | float | nm | required |  |  | Wavelength | general EMMO term | high | https://w3id.org/emmo#EMMO_573c7572_e7c7_4909_93a4_2bfe102e389d
laser_power_mw | Laser Power (mW) | Laser power at the sample. Keep low to avoid burning. | float | mW | optional |  |  | Power | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_09b9021b_f97b_43eb_b83d_0a764b472bc2
exposure_time_s | Exposure Time (s) | Acquisition / exposure time per spectrum. | float | s | optional |  |  | Duration | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_0adabf6f_7404_44cb_9f65_32d83d8101a3
num_accumulations | Accumulations | Number of accumulations averaged. Enter number only. | int |  | optional |  |  | Count | QUDT or schema.org term | high | http://qudt.org/vocab/quantitykind/Count
wavenumber_min_cm1 | Wavenumber Min (cm⁻¹) | Low end of the measured Raman-shift range. | float | cm⁻¹ | optional |  |  | Wavenumber | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_e0aaed83_9224_4bd8_a960_a813c4569412
wavenumber_max_cm1 | Wavenumber Max (cm⁻¹) | High end of the measured Raman-shift range. | float | cm⁻¹ | optional |  |  | Wavenumber | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_e0aaed83_9224_4bd8_a960_a813c4569412
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## FTIR
FTIR · Fourier-Transform Infrared Spectroscopy
Spectroscopy · 8 fields · 5 required · 8 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
measurement_mode | Measurement Mode | ATR / transmission / DRIFTS / specular reflectance. | str |  | required |  | ATR; Transmission; DRIFTS; Specular reflectance; IRRAS (external reflection-absorption); Other | CharacterisationTechnique | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
sample_form | Sample Form | Physical form presented to the beam. | str |  | required |  | KBr pellet; Thin film; Powder; Liquid (neat, on ATR crystal or between windows); Solution; Other | PreparedSample | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PreparedSample
wavenumber_min_cm1 | Wavenumber Min (cm⁻¹) | Low end of the measured range. | float | cm⁻¹ | required |  |  | Wavenumber | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_e0aaed83_9224_4bd8_a960_a813c4569412
wavenumber_max_cm1 | Wavenumber Max (cm⁻¹) | High end of the measured range. | float | cm⁻¹ | required |  |  | Wavenumber | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_e0aaed83_9224_4bd8_a960_a813c4569412
resolution_cm1 | Resolution (cm⁻¹) | Spectral resolution. | float | cm⁻¹ | optional |  |  | Wavenumber | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_e0aaed83_9224_4bd8_a960_a813c4569412
num_scans | Number of Scans | Number of scans co-added. Enter number only. | int |  | optional |  |  | Count | QUDT or schema.org term | high | http://qudt.org/vocab/quantitykind/Count
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## UVVis
UVVis · UV–Visible Spectroscopy
Spectroscopy · 8 fields · 5 required · 8 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
measurement_mode | Measurement Mode | Transmission / diffuse reflectance / specular. | str |  | required |  | Absorbance; Transmittance; Diffuse reflectance (DRS); Specular reflectance; Fluorescence; Other | CharacterisationTechnique | general EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationTechnique
sample_form | Sample Form | Physical form, e.g. dilute solution in a quartz cuvette. | str |  | required |  | Solution in cuvette; Thin film; Powder (diffuse reflectance); Microplate well; Other | PreparedSample | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#PreparedSample
wavelength_min_nm | Wavelength Min (nm) | Low end of the measured wavelength range. | float | nm | required |  |  | Wavelength | general EMMO term | high | https://w3id.org/emmo#EMMO_573c7572_e7c7_4909_93a4_2bfe102e389d
wavelength_max_nm | Wavelength Max (nm) | High end of the measured wavelength range. | float | nm | required |  |  | Wavelength | general EMMO term | high | https://w3id.org/emmo#EMMO_573c7572_e7c7_4909_93a4_2bfe102e389d
path_length_mm | Path Length (mm) | Optical path length of the cuvette. | float | mm | optional |  |  | PathLength | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_a0ce1017_0467_473b_8af8_0ddf4621b0be
solvent | Solvent | Solvent / medium. | str |  | optional |  | Water; Acetonitrile; DMC; Ethanol; DMSO; DME; THF; Other | Solvent | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/chemical-substance#substance_0f2f65a7_5cc4_4c86_a4d0_676771c646f1
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## GC
GC · Gas Chromatography
Chemical analysis · 11 fields · 5 required · 10 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
instrument | Instrument | GC instrument model. | str |  | required |  |  | CharacterisationMeasurementInstrument | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationMeasurementInstrument
carrier_gas | Carrier Gas | Carrier gas. | str |  | required |  | He; Ar; N2; H2; Other | Gas | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_04f2a2d5_e799_4692_a654_420e76f5acc1
detector_type | Detector Type | Detector — TCD / FID / MS. | str |  | required |  | TCD; FID; TCD + FID; FID with methanizer; MS; BID (barrier discharge ionisation); PDHID (pulsed discharge helium ionisation); Other | Detector | general EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#Detector
target_analytes | Target Analytes | Species quantified. | str |  | required |  | H2; O2; CO; CO2; CH4; C2H2; C2H4; C2H6; N2; Solvent vapours (e.g. DMC, EMC); Other |  | no term yet
calibration_standard | Calibration Standard | Calibration gas mixture / standard. | str |  | optional |  | Certified multi-gas standard; Generated standard (e.g. LiAlH4 + HCl for H2); Single-gas standard, volumetric dilution; Other | ReferenceSample | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#ReferenceSample
sample_preparation | Sample Preparation | How the gas/liquid sample was taken and handled. | str |  | optional |  | Gas-tight syringe from headspace; Sealed vial, headspace injection; Online / in-line sampling (DEMS / OEMS); Other | SamplePreparation | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
headspace_volume_ml | Free Gas Volume (mL) The sealed container's volume minus the liquid and solid inside it (vial, cell or reactor), not the injected volume. With it, ppm becomes µmol of gas; for TGC, H₂ gives the inactive metallic lithium (Li⁰). If temperature or pressure is blank, assume 25 °C and 1 atm. | Free gas volume of the sealed container the gas was sampled from (vial, cell or reactor): its total volume minus any liquid and solid inside. Not the injected volume. With temperature and pressure it turns ppm (mole fraction) into µmol; for TGC, H₂ into inactive metallic lithium (Li⁰, 'dead Li'). Enter number only. | float | mL | optional |  |  | Volume | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_f1a51559_aa3d_43a0_9327_918039f0dfed
headspace_temperature_c | Gas Temperature at Sampling (°C) | Temperature of the gas in the container when sampled (not a headspace-sampler oven setting). If blank, assume 25 °C. Enter number only. | float | °C | optional |  |  | CelsiusTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_66bc9029_f473_45ff_bab9_c3509ff37a22
headspace_pressure_atm | Gas Pressure at Sampling (atm) | Pressure of the gas in the container when sampled. If blank, assume 1 atm. Enter number only. | float | atm | optional |  |  | Pressure | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_50a44256_9dc5_434b_bad4_74a4d9a29989
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## ICP
ICP · Inductively Coupled Plasma spectroscopy
Chemical analysis · 7 fields · 3 required · 6 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
instrument_type | Instrument Type | ICP-AES or ICP-MS + instrument model. | str |  | required |  | ICP-OES (ICP-AES); ICP-MS; Other | CharacterisationMeasurementInstrument | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CharacterisationMeasurementInstrument
elements_measured | Elements Measured | Elements analysed. | str |  | required |  |  | Atom | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_eb77076b_a104_42ac_a065_798b2d2809ad
calibration_range | Calibration Range | Concentration range of the calibration standards. | str |  | optional |  |  | CalibrationData | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#CalibrationData
digestion_method | Digestion Method | Sample digestion / dissolution protocol. | str |  | optional |  | Liquid dilution; Acid digestion (aqua regia); Acid digestion (HNO3 / HCl / HF); Microwave-assisted acid digestion; Alkali fusion (flux) then dissolution; Other | SamplePreparation | BattINFO / EMMO term | medium | https://w3id.org/emmo/domain/characterisation-methodology/chameo#SamplePreparation
matrix | Matrix / Solvent | Matrix / solvent of the measured solution. | str |  | optional |  | Dilute HNO3; Dilute HCl; Deionised water; Dilute aqua regia; Other |  | no term yet
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## DFT
DFT · Density Functional Theory
Computation · 11 fields · 5 required · 9 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
INSTRUMENT
software | Software | DFT code — VASP, Quantum ESPRESSO, CP2K, Gaussian, CASTEP. Different codes give different results. | str |  | required |  | VASP; Quantum ESPRESSO; CP2K; Gaussian; CASTEP; ORCA; Other | SimulationSoftware | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_8b66ada5_510c_44bd_a8d8_3c64d301a5e9
software_version | Software Version | Version number, e.g. 6.3.2. Bugfixes between versions change energies by meV. | str |  | optional |  |  | softwareVersion | QUDT or schema.org term | high | https://schema.org/softwareVersion
PARAMETERS
xc_functional | XC Functional | Exchange-correlation functional — PBE, PBE+U, r²SCAN, HSE06. PBE and HSE06 energies are NOT comparable. | str |  | required |  | PBE; PBE+U; PBE+D3; SCAN; r2SCAN; HSE06; ωB97X-D; B3LYP; PBEsol; Other |  | no term yet
pseudopotential | Pseudopotential / Basis Set | Pseudopotential / basis-set type — PAW, USPP, norm-conserving, Gaussian 6-31g(d). | str |  | required |  | PAW (PBE); USPP (ultrasoft); Norm-conserving; Gaussian basis set (e.g. 6-31G(d), def2-TZVP); GTH (CP2K); Other |  | no term yet
system_studied | System Studied | Chemical formula and material description. | str |  | required |  |  | Material | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_4207e895_8b83_4318_996a_72cfb32acd94
energy_cutoff_ev | Energy Cutoff (eV) | Plane-wave cutoff. Enter number only. Must exceed 1.3× ENMAX for convergence. | float | eV | optional |  |  | Energy | general EMMO term | medium | https://w3id.org/emmo#EMMO_31ec09ba_1713_42cb_83c7_b38bf6f9ced2
k_point_mesh | k-Point Mesh | k-point grid (e.g. 4×4×4) or k-spacing in Å⁻¹. BZ sampling affects energy by tens of meV. | str |  | optional |  |  |  | ESRA term, none published yet |  | https://esra.anl.gov/ontology/v1#DFTKPointMesh
electronic_convergence_ev | Electronic Convergence (eV) | SCF convergence threshold. Enter number only. Loose EDIFF gives wrong forces. | float | eV | optional |  |  | Energy | general EMMO term | medium | https://w3id.org/emmo#EMMO_31ec09ba_1713_42cb_83c7_b38bf6f9ced2
force_convergence | Force Convergence | Ionic-relaxation force threshold, in eV/Å. | str |  | optional |  |  | Force | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_1f087811_06cb_42d5_90fb_25d0e7e068ef
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## MLIP
MLIP · Machine-Learned Interatomic Potential
Computation · 20 fields · 4 required · 9 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
PARAMETERS
model_name | Model Name | Model name / identifier. | str |  | required |  | CHGNet; MACE-MP-0; M3GNet; NequIP; Allegro; DeePMD; SevenNet; MatterSim; Other |  | no term yet
model_type | Model Type | Architecture family — equivariant GNN, message-passing NN, Gaussian approximation potential, etc. | str |  | required |  | Equivariant GNN (MACE, NequIP, Allegro); Invariant GNN / message-passing (CHGNet, M3GNet, SchNet); Descriptor-based neural network (Behler-Parrinello, DeePMD, ANI); Atomic cluster expansion (ACE); Gaussian approximation potential (GAP); Moment tensor potential (MTP); Linear / SNAP; Other |  | no term yet
target_properties | Target Properties | Quantities the potential predicts. | str |  | required |  | Energy; Forces; Stress; Charges; Magnetic moments; Dipole moments; Other | ModelledProperty | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_d0200cf1_e4f4_45ae_873f_b9359daea3cd
dft_training_level | DFT Training Level | DFT level of the reference data used for training. | str |  | optional |  | PBE; PBE+U; PBE+D3; r2SCAN; SCAN+U; SCAN; r2SCAN+U; Other |  | no term yet
training_dataset_name | Training Dataset Name | Name / source of the training dataset. | str |  | optional |  | MPtrj (Materials Project trajectories); Materials Project; Custom AIMD; OMat24; MatPES; Alexandria; Other | Dataset | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_194e367c_9783_4bf5_96d0_9ad597d48d9a
training_dataset_size | Training Dataset Size | Number of structures / configurations in training. | str |  | optional |  |  |  | no term yet
mae_energy_mev_per_atom | Validation MAE — Energy (meV/atom) | Validation mean-absolute-error on energy. Enter number only. | float | meV/atom | optional |  |  |  | ESRA term, none published yet |  | https://esra.anl.gov/ontology/v1#MLIPEnergyMAE
mae_forces_mev_per_A | Validation MAE — Forces (meV/Å) | Validation mean-absolute-error on forces. Enter number only. | float | meV/Å | optional |  |  |  | ESRA term, none published yet |  | https://esra.anl.gov/ontology/v1#MLIPForceMAE
test_mae_energy_mev_per_atom | Test MAE — Energy (meV/atom) | Mean absolute error on energy over the held-out test set. Enter number only. | float | meV/atom | optional |  |  |  | no term yet
test_mae_forces_mev_per_A | Test MAE — Forces (meV/Å) | Mean absolute error on forces over the held-out test set. Enter number only. | float | meV/Å | optional |  |  |  | no term yet
base_model | Base Model (if fine-tuned) | The pretrained model this one was fine-tuned from; blank if trained from scratch. | str | if fine-tuned | optional |  |  |  | no term yet
training_esra_ids | Training Data (ESRA IDs) | ESRA IDs of the datasets the model was trained on, comma separated. | str | ESRA IDs | optional |  |  | Dataset | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_194e367c_9783_4bf5_96d0_9ad597d48d9a
data_split | Train / Validation / Test Split | Train / validation / test split and how it was made (random by frame, by trajectory, by composition). A random frame split of MD data puts correlated frames on both sides. | str |  | optional |  |  |  | no term yet
random_seed | Random Seed | Random seed of the training run. Enter number only. | int |  | optional |  |  |  | no term yet
cutoff_radius_angstrom | Cutoff Radius (Å) | Interaction cutoff radius of the model; for a fine-tuned model, the base model's cutoff. Enter number only. | float | Å | optional |  |  | Radius | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_32dcd601_47c7_4028_b7fa_5e972ae57f12
training_config_file | Training Config File | The training configuration file, as named in the dataset's files. | str |  | optional |  |  |  | no term yet
software | Software | Training code (its package name). | str |  | optional |  |  | SimulationSoftware | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_8b66ada5_510c_44bd_a8d8_3c64d301a5e9
software_version | Software Version | Version of the training code. | str |  | optional |  |  |  | no term yet
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## MD
MD · Molecular Dynamics
Computation · 10 fields · 4 required · 8 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
INSTRUMENT
software | Software | MD engine — LAMMPS, GROMACS, OpenMM, ASE. | str |  | required |  | LAMMPS; GROMACS; OpenMM; ASE; VASP; CP2K; Other | SimulationSoftware | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_8b66ada5_510c_44bd_a8d8_3c64d301a5e9
software_version | Software Version | Version / build date. | str |  | optional |  |  | softwareVersion | QUDT or schema.org term | high | https://schema.org/softwareVersion
PARAMETERS
force_field | Force Field / Potential | Force field or interatomic potential used. | str |  | required |  | CHGNet; MACE; M3GNet; ACE; ReaxFF; AIMD (DFT forces); OPLS-AA; GAFF / AMBER; CHARMM; APPLE&P (polarizable); DeePMD; Other |  | no term yet
ensemble | Ensemble | Thermodynamic ensemble + thermostat/barostat, e.g. NVT (Nosé–Hoover). | str |  | required |  | NVE; NVT; NPT; μVT (grand canonical); Other |  | no term yet
md_type | MD Type | Kind of MD — classical, AIMD, MLIP-MD. | str |  | optional |  | Classical MD; AIMD; MLIP-MD; Other | PhysicsBasedSimulation | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_e97af6ec_4371_4bbc_8936_34b76e33302f
time_step_fs | Time Step (fs) | Integration time step. Enter number only. | float | fs | optional |  |  | Duration | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_0adabf6f_7404_44cb_9f65_32d83d8101a3
total_simulation_time_ns | Total Simulation Time (ns) | Total trajectory length. Enter number only. | float | ns | optional |  |  | Duration | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_0adabf6f_7404_44cb_9f65_32d83d8101a3
temperature_k | Temperature (K) | Simulation temperature. | float | K | optional |  |  | ThermodynamicTemperature | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_affe07e4_e9bc_4852_86c6_69e26182a17f
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## FEM
FEM · Finite Element Modelling
Computation · 9 fields · 5 required · 6 with an ontology IRI
Field key | Label | Description | Type | Unit | Required | Allowed values | Recommended values | Ontology term | Term status | Confidence | Ontology IRI
CORE IDENTIFIERS
cell_id | Cell id | Cell / sample identifier — links this data to the same physical sample across techniques. | str |  | required |  |  | ResourceIdentifier | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_c404e6d9_261d_4d2e_ab0d_ba4e05062647
INSTRUMENT
software | Software / Package | FEM / modelling package — COMSOL, FEniCS, ANSYS, custom. | str |  | required |  | COMSOL Multiphysics; FEniCS; ANSYS; Custom code; MOOSE; Abaqus; Other | SimulationSoftware | BattINFO / EMMO term | high | https://w3id.org/emmo#EMMO_8b66ada5_510c_44bd_a8d8_3c64d301a5e9
PARAMETERS
physics_type | Physics / Study Type | Primary physics — transport, electrochemistry, thermal, mechanics, multiphysics. | str |  | required |  | Electrochemistry; Mass transport (COMSOL: Transport of Diluted Species); Thermal; Mechanics; Phase-field (Allen-Cahn); Multiphysics; Porous-electrode (Newman / P2D); Fluid flow (CFD); Other | PhysicsEquation | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_27c5d8c6_8af7_4d63_beb1_ec37cd8b3fa3
geometry_dimension | Geometry / Dimension | 1D / 2D / 3D / axisymmetric; particle-scale / cell-scale. | str |  | required |  | 1D; 2D; 2D axisymmetric; 3D; Other |  | no term yet
boundary_conditions | Boundary / Initial Conditions | Key boundary and initial conditions needed to reproduce the model. | str |  | required |  |  | BoundaryCondition | BattINFO / EMMO term | high | https://w3id.org/emmo/domain/electrochemistry#electrochemistry_f2f36f22_3738_49dd_b43b_7469db6675df
mesh_description | Mesh Description | Mesh type, refinement, element count or representative size. | str |  | optional |  |  |  | no term yet
solver_settings | Solver / Study Settings | Stationary vs time-dependent, tolerances, timestep, sweeps. | str |  | optional |  |  |  | no term yet
ANALYSED DATA
computed_quantities | Computed Quantities | Key outputs — concentration, overpotential, current distribution, stress. | str |  | optional |  |  | ModelledProperty | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_d0200cf1_e4f4_45ae_873f_b9359daea3cd
NOTES
notes | Notes | Free-text notes about this measurement. | str |  | optional |  |  | Description | BattINFO / EMMO term | medium | https://w3id.org/emmo#EMMO_35d4c439_fcb6_4399_a855_a89a207b41e9

## Value lists
Value lists
Enforced lists come from the upload form; recommended lists are names we recommend so that records from different groups match, and are not enforced.
Type | Field | Values | Kind
ELECTROCHEMISTRY
EIS | cell_configuration | Symmetric (Li¦electrolyte¦Li); Half Cell; Full Cell; Blocking Electrode; Two-electrode; Three-electrode | enforced: closed list
LSV | reference_electrode | Li/Li+; Ag/AgCl; Na/Na+; SCE (saturated calomel); Fc/Fc+ (ferrocene internal reference); Other | recommended, not enforced
Cycling | cell_type | full; half; symmetric; plating-stripping; three-electrode; pellet | form: suggestions, free text accepted
Cycling | cell_geometry | Coin Cell; Pouch Cell; Swagelok; Cylindrical; Custom / pellet cell; Prismatic; Other | enforced: closed list
RFB | measurement_technique | Cyclic voltammetry; Linear sweep voltammetry; Galvanostatic cycling; Chronoamperometry; Flow-cell polarization; RDE voltammetry (Koutecký–Levich); Symmetric-cell cycling; Other | recommended, not enforced
MICROSCOPY
TEM | sample_preparation | FIB lamella (lift-out); Crushed and dispersed on grid (dry); Dispersed from suspension (wet); Ultramicrotome; Ion milling; Electropolishing; Electrochemically deposited on grid; Cryo-FIB lamella; Other | recommended, not enforced
TEM | imaging_mode | TEM (bright field); STEM / HAADF; EELS spectrum image; EDS spectrum image; SAED diffraction; STEM + EELS; STEM + EDS | enforced: closed list
TEM | detectors | HAADF; BF; DF; EELS; EDS; Ceta (CMOS camera); Falcon (direct electron detector); Other | recommended, not enforced
TEM | holder_type | Single Tilt; Double Tilt; Cryo; Heating; Biasing; Gas / environmental cell; Liquid cell; Tomography; Other | recommended, not enforced
SEM | detector_mode | SE; BSE; In-lens SE; STEM; EDS (EDX); Other | recommended, not enforced
SEM | sample_preparation | Washed and dried electrode; Powder on carbon tape; Mechanical / ion-polished cross-section; FIB cross-section; Other | recommended, not enforced
SEM | sample_transfer | Air-free (Ar glovebox); In-vacuo transfer; Cryo transfer; Air exposure; Other | recommended, not enforced
EBSD | sample_preparation | Mechanical polish; Broad-ion-beam (BIB) milling; Mechanical polish + BIB final polish; Vibratory polish (colloidal silica); FIB / plasma-FIB cross-section; Other | recommended, not enforced
SCATTERING, DIFFRACTION AND TOMOGRAPHY
XRD | radiation_source | Cu Kα; Mo Kα; Synchrotron; Cu Kα1 (monochromatic); Co Kα; Ag Kα; Other | recommended, not enforced
XRD | sample_preparation | Packed powder (flat plate); Zero-background holder; Capillary; Sealed air-free holder; Electrode film on current collector; Other | recommended, not enforced
XRD | sample_environment | Ambient air; Inert (Ar); Sealed capillary; In situ temperature (heating / cooling); Operando cell; Other | recommended, not enforced
XRD | sample_form | Powder; Single crystal; Thin film; Pellet; Composite electrode; Cell (in situ / operando); Foil or bulk solid; Other | enforced: closed list
XRD | probe | Lab X-ray; Synchrotron X-ray; Neutron | enforced: closed list
XRD | in_situ_mode | Ex situ; In situ; Operando | enforced: closed list
XRD | texture | None observed; Present; Not checked; Not applicable | enforced: closed list
XCT | xray_source | Laboratory X-ray tube (micro-CT); Laboratory X-ray tube (nano-CT); Synchrotron (name the beamline, e.g. NSLS-II 27-ID HEX); Other | recommended, not enforced
XCT | sample_environment | Ex situ; In situ; Operando electrochemical cell; Other | recommended, not enforced
XCT | reconstruction_algorithm | Filtered back-projection (FBP); Gridrec; Iterative (e.g. SIRT); FDK (cone-beam filtered back-projection); Other | recommended, not enforced
PDF | radiation_source | Synchrotron X-ray; Neutron (spallation); Neutron (reactor, constant wavelength); Laboratory X-ray (Ag / Mo Kα); Other | recommended, not enforced
PDF | sample_form | Powder in Kapton capillary; Packed powder; Liquid in capillary; Operando cell (e.g. AMPIX); Other | recommended, not enforced
PDF | sample_environment | Ex situ; In situ; Air-free; Operando; Other | recommended, not enforced
XPCS | facility_beamline | APS 8-ID-I; APS 8-ID-E; PETRA III P10; NSLS-II CHX (11-ID); ESRF ID10; Other | recommended, not enforced
XPCS | detector | Rigaku XSPA 3M; Eiger2 X CdTe 4M; Timepix; Eiger2 500K; Lambda 750K; Other | recommended, not enforced
XPCS | scattering_geometry | SAXS transmission; WAXS; Grazing incidence; Other | recommended, not enforced
XPCS | sample_form | Pressed pellet; Powder in capillary; Liquid / suspension in capillary; Thin film; Other | recommended, not enforced
XPCS | analysis_types | multitau; twotime | recommended, not enforced
XPCS | correlation_software | boost_corr; Legacy 8-ID-I pipeline; Other | recommended, not enforced
SPECTROSCOPY
XPS | xray_source | Al Kα (monochromatic, 1486.6 eV); Mg Kα (1253.6 eV); Synchrotron; Ag Lα (2984 eV, HAXPES); Cr Kα (5415 eV, HAXPES); Other | recommended, not enforced
XPS | charge_correction | Adventitious C 1s at 284.8 eV; C 1s at 284.5 eV; C 1s (C–C / C–H) at 285.0 eV; Au 4f7/2 at 84.0 eV; None (charge neutraliser only); Other | recommended, not enforced
XPS | sample_transfer | Air-free (Ar glovebox); In-vacuo transfer; Cryo transfer; Air exposure; Other | recommended, not enforced
XPS | sample_preparation | As-received; Washed (solvent) and dried; Ar-ion etched; Ar cluster-ion (GCIB) etched; Other | recommended, not enforced
XAS | measurement_mode | Transmission; Fluorescence; TEY; PEY; HERFD; TFY; PFY; Other | recommended, not enforced
XAS | sample_form | Pressed pellet; Thin film (electrode on foil); Solution; Gas; Powder on Kapton tape; Operando cell (pouch / coin with window); Other | recommended, not enforced
XAS | fluorescence_detector | Silicon drift detector (SDD, e.g. Vortex); Multi-element Ge detector; Lytle detector (ion chamber); PIPS (passivated implanted planar silicon); Other | recommended, not enforced
NMR | nucleus | 1H; 6Li; 7Li; 11B; 13C; 19F; 23Na; 27Al; 31P; 17O; 29Si; Other | recommended, not enforced
NMR | nmr_experiment | 1D single-pulse (solution); 1D MAS (solid-state); MQMAS; 2D EXSY; 2D HETCOR; PFG-NMR (diffusion); Relaxometry (T1 / T2); qNMR; Operando / in situ NMR; Other | recommended, not enforced
NMR | solvent | Solid-state (MAS, no solvent); DMSO-d6; CDCl3; D2O; CD3CN; Neat liquid (no deuterated solvent; lock insert); Other | recommended, not enforced
NMR | reference_standard | TMS; CFCl3; 1 M LiCl (aq); 85% H3PO4 (31P); 1 M NaCl (aq) (23Na); BF3·OEt2 (11B); 1 M Al(NO3)3 (aq) (27Al); Other | recommended, not enforced
NMR | quant_standard_type | Internal; External (coaxial insert); External (separate tube); Electronic (ERETIC) | enforced: closed list
FTIR | measurement_mode | ATR; Transmission; DRIFTS; Specular reflectance; IRRAS (external reflection-absorption); Other | recommended, not enforced
FTIR | sample_form | KBr pellet; Thin film; Powder; Liquid (neat, on ATR crystal or between windows); Solution; Other | recommended, not enforced
UVVis | measurement_mode | Absorbance; Transmittance; Diffuse reflectance (DRS); Specular reflectance; Fluorescence; Other | recommended, not enforced
UVVis | sample_form | Solution in cuvette; Thin film; Powder (diffuse reflectance); Microplate well; Other | recommended, not enforced
UVVis | solvent | Water; Acetonitrile; DMC; Ethanol; DMSO; DME; THF; Other | recommended, not enforced
CHEMICAL ANALYSIS
GC | carrier_gas | He; Ar; N2; H2; Other | recommended, not enforced
GC | detector_type | TCD; FID; TCD + FID; FID with methanizer; MS; BID (barrier discharge ionisation); PDHID (pulsed discharge helium ionisation); Other | recommended, not enforced
GC | target_analytes | H2; O2; CO; CO2; CH4; C2H2; C2H4; C2H6; N2; Solvent vapours (e.g. DMC, EMC); Other | recommended, not enforced
GC | calibration_standard | Certified multi-gas standard; Generated standard (e.g. LiAlH4 + HCl for H2); Single-gas standard, volumetric dilution; Other | recommended, not enforced
GC | sample_preparation | Gas-tight syringe from headspace; Sealed vial, headspace injection; Online / in-line sampling (DEMS / OEMS); Other | recommended, not enforced
ICP | instrument_type | ICP-OES (ICP-AES); ICP-MS; Other | recommended, not enforced
ICP | digestion_method | Liquid dilution; Acid digestion (aqua regia); Acid digestion (HNO3 / HCl / HF); Microwave-assisted acid digestion; Alkali fusion (flux) then dissolution; Other | recommended, not enforced
ICP | matrix | Dilute HNO3; Dilute HCl; Deionised water; Dilute aqua regia; Other | recommended, not enforced
COMPUTATION
DFT | software | VASP; Quantum ESPRESSO; CP2K; Gaussian; CASTEP; ORCA; Other | recommended, not enforced
DFT | xc_functional | PBE; PBE+U; PBE+D3; SCAN; r2SCAN; HSE06; ωB97X-D; B3LYP; PBEsol; Other | recommended, not enforced
DFT | pseudopotential | PAW (PBE); USPP (ultrasoft); Norm-conserving; Gaussian basis set (e.g. 6-31G(d), def2-TZVP); GTH (CP2K); Other | recommended, not enforced
MLIP | model_name | CHGNet; MACE-MP-0; M3GNet; NequIP; Allegro; DeePMD; SevenNet; MatterSim; Other | recommended, not enforced
MLIP | model_type | Equivariant GNN (MACE, NequIP, Allegro); Invariant GNN / message-passing (CHGNet, M3GNet, SchNet); Descriptor-based neural network (Behler-Parrinello, DeePMD, ANI); Atomic cluster expansion (ACE); Gaussian approximation potential (GAP); Moment tensor potential (MTP); Linear / SNAP; Other | recommended, not enforced
MLIP | target_properties | Energy; Forces; Stress; Charges; Magnetic moments; Dipole moments; Other | recommended, not enforced
MLIP | dft_training_level | PBE; PBE+U; PBE+D3; r2SCAN; SCAN+U; SCAN; r2SCAN+U; Other | recommended, not enforced
MLIP | training_dataset_name | MPtrj (Materials Project trajectories); Materials Project; Custom AIMD; OMat24; MatPES; Alexandria; Other | recommended, not enforced
MD | software | LAMMPS; GROMACS; OpenMM; ASE; VASP; CP2K; Other | recommended, not enforced
MD | force_field | CHGNet; MACE; M3GNet; ACE; ReaxFF; AIMD (DFT forces); OPLS-AA; GAFF / AMBER; CHARMM; APPLE&P (polarizable); DeePMD; Other | recommended, not enforced
MD | ensemble | NVE; NVT; NPT; μVT (grand canonical); Other | recommended, not enforced
MD | md_type | Classical MD; AIMD; MLIP-MD; Other | recommended, not enforced
FEM | software | COMSOL Multiphysics; FEniCS; ANSYS; Custom code; MOOSE; Abaqus; Other | recommended, not enforced
FEM | physics_type | Electrochemistry; Mass transport (COMSOL: Transport of Diluted Species); Thermal; Mechanics; Phase-field (Allen-Cahn); Multiphysics; Porous-electrode (Newman / P2D); Fluid flow (CFD); Other | recommended, not enforced
FEM | geometry_dimension | 1D; 2D; 2D axisymmetric; 3D; Other | recommended, not enforced

## RDE crosswalk
Crosswalk to NIMS Research Data Express (RDEToolKit)
RDE item names from the RDEToolKit metadata-definition documentation, nims-mdpf.github.io/rdetoolkit.
ESRA field or column | RDE item (RDEToolKit) | RDE file | Note
CORE IDENTIFIERS
cell_id (Sample ID) | sample.sampleId, sample.names | invoice.json | RDE's sample identifier and its primary name.
researcher_name, orcid | basic.dataOwnerId | invoice.json | The data owner; ESRA records the name and the ORCID.
project | basic.experimentId | invoice.json | Closest RDE item; ESRA's project groups the datasets of one programme.
experiment_date | basic.dateSubmitted | invoice.json | RDE stores the submission date; ESRA stores the experiment date.
external_data_url | sample.referenceUrl | invoice.json
sample_composition | sample.composition | invoice.json | Where the experiment type records it.
notes | basic.description | invoice.json
PROPERTIES OF EVERY FIELD
Label | name (ja, en) | metadata-def.json
Type | schema.type | metadata-def.json | float maps to number, str to string.
Unit | unit | metadata-def.json
Ontology IRI | uri | metadata-def.json
Description | description | metadata-def.json
Allowed values | enum (custom fields) | invoice.schema.json